## Project Information
Project Information
Project Name: | Take 5 Oil Change
ZipCode: | 75090
Version: | Take 5 Oil Change
Date: | 2026-06-27

## Cost Summary
Cost Summary by Trade
# | Trade | Labor (w/M) | Material (w/M) | Total (w/M) | % of Total
1 | Demolition | 2468.66 | 0 | 2468.66 | 0.3317%
2 | Storm Sewer | 3682.81 | 6209.84 | 9892.65 | 1.329%
3 | Concrete | 114926.42 | 144913.73 | 259840.15 | 34.91%
4 | Masonry | 4342.72 | 2320.34 | 6663.06 | 0.8952%
5 | Structural Steel | 558.32 | 1572.14 | 2130.46 | 0.2862%
6 | Framing | 36064.27 | 43083.35 | 79147.64 | 10.63%
7 | Roofing | 3813.41 | 3397.53 | 7210.91 | 0.9688%
8 | Insulation | 6202.08 | 9140.22 | 15342.29 | 2.061%
9 | EIFS | 40643.3 | 10978.54 | 51621.84 | 6.936%
10 | Painting | 4952.04 | 1095.49 | 6047.52 | 0.8125%
11 | HVAC | 5132.02 | 14648.85 | 19780.87 | 2.658%
12 | Electrical | 29300.89 | 29124.58 | 58425.47 | 7.85%
13 | Earthwork | 64528.76 | 15713.31 | 80242.06 | 10.78%
14 | Water Service | 691.01 | 1225.15 | 1916.15 | 0.2574%
15 | Sanitary | 1930.33 | 1343.54 | 3273.86 | 0.4399%
16 | Landscape | 13635.39 | 17422.19 | 31057.58 | 4.173%
17 | Glass | 937.5 | 2349 | 3286.5 | 0.4416%
18 | Plumbing | 8636.87 | 9282.26 | 17919.14 | 2.408%
19 | Supervision / General Conditions | 70225 | 17806.5 | 88031.5 | 11.83%
| GRAND TOTAL | 412671.8 | 331626.56 | 744298.31 | 100%

## Sort By Trade
ROOM | CSI | ITEM NAME | DIVISION | QUANTITY | WASTAGE | QIY WITH WASTAGE | UNIT | TOTAL COST | TOTAL LABOR COST w/M | TOTAL MATERIAL COST w/M | TOTAL COST w/M
Demolition
Overall | 02 41 13 | Removal- Curb | Existing Conditions | 88.49 | 15% | 101.76 | LF | 517.96 | 647.45 | 0 | 647.45
Overall | 02 41 13 | Removal- PVC Pipe | Existing Conditions | 20 | 15% | 23 | LF | 528.54 | 660.68 | 0 | 660.68
Overall | 02 41 13 | Removal- Electrical Wire | Existing Conditions | 252.65 | 15% | 290.55 | LF | 618.87 | 773.59 | 0 | 773.59
Overall | 07 05 05 | Removal- Gutter | Thermal & Moisture Protection | 39.3 | 15% | 45.19 | LF | 309.55 | 386.94 | 0 | 386.94
TRADE SUBTOTAL | [7 empty] | 1974.92 | 2468.66 | 0 | 2468.66
Storm Sewer
Overall | 02 41 13 | ACO Traffic Power Drain S300K, 30Fl | Existing Conditions | 30 | 15% | 34.5 | LF | 1669.8 | 891.83 | 1291.06 | 2182.88
Overall | 33 01 30 | HDPE sewer pipe lining, 300' runs | Utilities | 19 | 5% | 19.95 | LF | 419.55 | 174.81 | 377.59 | 552.41
Overall | 33 42 11 | Reinforced concrete pipe (RCP), class 3 | Utilities | 54 | 5% | 56.7 | LF | 2677.94 | 1277.17 | 2235.88 | 3513.05
Overall | 33 42 11 | Reinforced concrete pipe (RCP), class 3 | Utilities | 50 | 5% | 52.5 | LF | 2479.58 | 1182.56 | 2070.26 | 3252.82
Overall | 33 42 11 | 12" flared end section with trash grate | Utilities | 1 | 2% | 1 | EACH | 171.96 | 122.31 | 100.05 | 222.36
Overall | 33 42 33 | 24" DIA. Nyloplast Drain Basin | Utilities | 2 | 2% | 2 | EACH | 127.3 | 34.13 | 135 | 169.13
TRADE SUBTOTAL | [7 empty] | 7546.13 | 3682.81 | 6209.84 | 9892.65
Concrete
Overall | 03 15 19 | Simpson Tie THD50400H | Concrete | 84 | 10% | 92 | EACH | 855.6 | 541.65 | 570.08 | 1111.73
Overall | 03 30 53 | Temporary CONC. Washout Facility | Concrete | 5.5 | 10% | 6.05 | CY | 2983.32 | 1606.58 | 2292.37 | 3898.95
Overall | 03 30 53 | CONC. Pad for HVAC Equipment | Concrete | 1 | 2% | 1 | EACH | 174.34 | 121.34 | 104.31 | 225.65
Overall | 03 30 53 | CONC. Curb | Concrete | 571.27 | 5% | 599.83 | LF | 12164.55 | 7827.78 | 7968.14 | 15795.92
Overall | 03 30 00 |  | Concrete |  |  |  | SQFT
Overall | 03 11 13 | CIP concrete elevated flat plate slab formwork | Concrete | 287.52 | 7% | 307.65 | SQFT | 1479.8 | 961.41 | 959.41 | 1920.81
Overall | 03 21 21 | GFRP reinforcing bar | Concrete | 5671.7 | 5% | 5955.29 | LF | 3930.49 | 2531 | 2572.69 | 5103.68
Overall | 03 30 53 | Cast-in-place concrete elevated slab, flat plate | Concrete | 157.55 | 10% | 173.3 | CY | 151679.09 | 87587.99 | 110171.75 | 197759.74
Overall | 03 30 00 |  | Concrete |  |  |  | EACH
Overall | 03 11 13 | Pit Formwork | Concrete | 232.8 | 7% | 249.1 | SQFT | 2172.15 | 1419.87 | 1398.95 | 2818.82
Overall | 03 21 11 | Pit rebr #5 Top & Bot | Concrete | 931.2 | 3% | 959.14 | LBS | 1093.42 | 419.62 | 1022.92 | 1442.55
Overall | 03 30 53 | Pit Wall | Concrete | 4.31 | 10% | 4.74 | CY | 2421.71 | 1436.93 | 1717.43 | 3154.36
Overall | 03 30 53 | Pit Slab | Concrete | 6.07 | 10% | 6.68 | CY | 1902.6 | 463.51 | 2067.92 | 2531.43
Overall | 05 51 16 | 5" CONC. Slab | Metals |  |  |  | SQFT
Overall | 03 11 13 | Wood slab-on-grade edge formwork | Concrete | 59.25 | 5% | 62.21 | LF | 234.33 | 258.17 | 37.52 | 295.69
Overall | 03 22 11 | Plain welded wire fabric reinforcing | Concrete | 1093.84 | 0% | 1093.84 | SF | 594.17 | 456.4 | 309.22 | 765.62
Overall | 03 31 13 | Place Structural Concrete Slab on Grade | Concrete | 15.35 | 5% | 16.11 | CY | 402.94 | 503.68 | 0 | 503.68
Overall | 07 26 13 | 10 mil polyethylene vapor barrier roll | Thermal & Moisture Protection | 994.4 | 0% | 994.4 | SF | 198.28 | 185.7 | 67.12 | 252.83
Overall | 05 51 16 | 4-1/2" CONC. Ressed Slab | Metals |  |  |  | SQFT
Overall | 03 11 13 | Wood slab-on-grade edge formwork | Concrete | 20.8 | 5% | 21.83 | LF | 82.23 | 90.59 | 13.16 | 103.76
Overall | 03 22 11 | #4 Rebar @ 12" O.C. | Concrete | 207.95 | 0% | 207.95 | LF | 135.96 | 86.77 | 89.83 | 176.6
Overall | 03 31 13 | Place Structural Concrete Slab on Grade | Concrete | 2.89 | 5% | 3.03 | CY | 75.79 | 94.73 | 0 | 94.73
Overall | 07 26 13 | 10 mil polyethylene vapor barrier roll | Thermal & Moisture Protection | 207.95 | 0% | 207.95 | SF | 41.47 | 38.83 | 14.04 | 52.87
Overall | 05 51 16 | Trash Enclosure 5" CONC. Slab | Metals |  |  |  | SQFT
Overall | 03 11 13 | Wood slab-on-grade edge formwork | Concrete | 59.25 | 5% | 62.21 | LF | 234.33 | 258.17 | 37.52 | 295.69
Overall | 03 22 11 | Plain welded wire fabric reinforcing | Concrete | 152.79 | 0% | 152.79 | SF | 83 | 63.75 | 43.19 | 106.94
Overall | 03 31 13 | Place Structural Concrete Slab on Grade | Concrete | 2.14 | 5% | 2.25 | CY | 56.28 | 70.35 | 0 | 70.35
Overall | 07 26 13 | 10 mil polyethylene vapor barrier roll | Thermal & Moisture Protection | 138.9 | 0% | 138.9 | SF | 27.7 | 25.94 | 9.38 | 35.32
Overall | 22 52 00 | CONC. Footing | Plumbing |  |  |  | LF
Overall | 03 11 13 | Footing Formwork, Plywood | Concrete | 1436 | 0% | 1436 | SF | 5146.62 | 4487.5 | 2101.44 | 6588.94
Overall | 03 21 11 | #3 Deformed Rebar Dowel | Concrete | 359 | 0% | 359 | Each | 1360.61 | 1090.01 | 659.61 | 1749.62
Overall | 03 21 11 | (2) #5 Rebar Top & Bot | Concrete | 1497.75 | 3% | 1542.68 | LBS | 1018.17 | 655.64 | 666.44 | 1322.08
Overall | 03 31 13 | Concrete Placement - Continuous Footing | Concrete | 27.69 | 5% | 29.07 | CY | 7060.41 | 831.26 | 8633.79 | 9465.05
Overall | 22 52 00 | Trash Enclosure CONC. Footing | Plumbing |  |  |  | LF
Overall | 03 11 13 | Footing Formwork, Plywood | Concrete | 165.08 | 0% | 165.08 | SF | 591.65 | 515.88 | 241.58 | 757.45
Overall | 03 21 11 | #3 Deformed Rebar Dowel | Concrete | 41 | 0% | 41 | Each | 155.39 | 124.49 | 75.33 | 199.82
Overall | 03 21 11 | (2) #5 Rebar Top & Bot | Concrete | 172.18 | 3% | 177.34 | LBS | 117.04 | 75.37 | 76.61 | 151.98
Overall | 03 31 13 | Concrete Placement - Continuous Footing | Concrete | 3.18 | 5% | 3.34 | CY | 811.21 | 95.51 | 991.98 | 1087.49
TRADE SUBTOTAL | [7 empty] | 199284.65 | 114926.42 | 144913.73 | 259840.15
Masonry
Overall | 03 48 16 | Trash Inclosure Masonry | Concrete |  |  |  | SQFT
Overall | 04 22 10 | 8x8x16 Normal Weight CMU Partition | Masonry | 247.62 | 0% | 247.62 | SF | 2583.42 | 2153.37 | 1161.98 | 3315.35
Overall | 06 11 10 | Wood furring strip | Wood, Plastics & Composites | 247.62 | 5% | 260 | LF | 458.46 | 369.53 | 219.83 | 589.36
Overall | 07 21 23 | Perlite loose-fill insulation | Thermal & Moisture Protection | 4.04 | 10% | 4.44 | CY | 777.9 | 414.34 | 602.67 | 1017.01
Overall | 09 24 23 | 3-coat cement stucco system | Finishes | 210.48 | 0% | 210.48 | SF | 1373.17 | 1405.48 | 335.86 | 1741.34
TRADE SUBTOTAL | [7 empty] | 5192.95 | 4342.72 | 2320.34 | 6663.06
Structural Steel
Overall | 05 12 23 | Structural steel framing, hung lintels or shelf angles | Metals | 51.56 | 5% | 54.14 | LF | 1611.21 | 558.32 | 1572.14 | 2130.46
TRADE SUBTOTAL | [7 empty] | 1611.21 | 558.32 | 1572.14 | 2130.46
Framing
Overall | 06 05 05 | Wood Header 4x18 SYP #2 | Wood, Plastics & Composites | 63.36 | 15% | 72.86 | LF | 104.92 | 131.15 | 0 | 131.15
Overall | 05 21 13 |  | Metals |  |  |  | SQFT
Overall | 06 05 23 | Galvanized rafter anchor | Wood, Plastics & Composites | 48 | 2% | 49 | Each | 326.93 | 238.81 | 183.43 | 422.25
Overall | 06 05 23 | Roof Truss @ 24" | Wood, Plastics & Composites | 1361.55 | 2% | 1388.78 | SQFT | 11179.68 | 6075.91 | 8530.58 | 14606.49
Overall | 06 11 10 | Wood furring strip | Wood, Plastics & Composites | 1361.55 | 5% | 1429.63 | LF | 3129.32 | 2873.56 | 1121.14 | 3994.69
Overall | 06 11 10 | 2x6 Rough Fascia Board | Wood, Plastics & Composites | 161.7 | 5% | 169.79 | LF | 953.37 | 956.55 | 253.97 | 1210.53
Overall | 06 16 36 | CDX plywood roof sheathing | Wood, Plastics & Composites | 1593.01 | 0% | 1593.01 | SF | 2715.6 | 1589.82 | 1949.06 | 3538.88
Overall | 06 17 53 | Wood roof truss, 2x4, metal plate connected | Wood, Plastics & Composites | 68 | 1% | 69 | Each | 13153.75 | 6242.43 | 11015.73 | 17258.16
Overall | 07 24 00 | Exterior wall framing systems, 2" x 6", 16" OC F1 | Thermal and Moisture Protection |  |  |  | SQFT
Overall | 06 11 10 | Wall Stud: 2x6 SPF #2 @16" O.C. | Wood, Plastics & Composites | 1346.98 | 5% | 1414.33 | LF | 3139.81 | 1972.99 | 2107.92 | 4080.91
Overall | 06 11 10 | Let-in board bracing | Wood, Plastics & Composites | 113.15 | 5% | 118.8 | LF | 581.05 | 552.57 | 187.64 | 740.21
Overall | 06 11 10 | Jack Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 269.4 | 5% | 282.87 | LF | 627.97 | 394.6 | 421.59 | 816.19
Overall | 06 11 10 | Corner Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 193 | 5% | 202.65 | LF | 449.88 | 282.7 | 302.03 | 584.73
Overall | 06 11 10 | Wall Blocking: 2x4 SPF #2 | Wood, Plastics & Composites | 167.59 | 5% | 175.97 | LF | 272.75 | 164.97 | 190.05 | 355.02
Overall | 06 11 10 | Double Top Plate: 2x6 SPF #2 | Wood, Plastics & Composites | 335.18 | 5% | 351.94 | LF | 1179 | 791.87 | 736.43 | 1528.3
Overall | 06 11 10 | Bot Plate: 2x6 P.T. | Wood, Plastics & Composites | 167.59 | 5% | 175.97 | LF | 2306.97 | 730.28 | 2325.71 | 3055.98
Overall | 06 11 10 | King Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 448.99 | 5% | 471.44 | LF | 1046.6 | 657.66 | 702.63 | 1360.29
Overall | 06 16 36 | CDX plywood wall sheathing | Wood, Plastics & Composites | 3591.94 | 0% | 3591.94 | SF | 6870.66 | 4482.74 | 4434.03 | 8916.78
Overall | 07 24 00 | Exterior wall framing systems, 2" x 6", 16" OC Attic | Thermal and Moisture Protection |  |  |  | SQFT
Overall | 06 11 10 | Wall Stud: 2x6 SPF #2 @16" O.C. | Wood, Plastics & Composites | 285.28 | 5% | 299.55 | LF | 665 | 417.87 | 446.45 | 864.32
Overall | 06 11 10 | Corner Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 78 | 5% | 81.9 | LF | 181.82 | 114.25 | 122.06 | 236.31
Overall | 06 11 10 | Wall Blocking: 2x4 SPF #2 | Wood, Plastics & Composites | 58.52 | 5% | 61.45 | LF | 95.25 | 57.61 | 66.37 | 123.98
Overall | 06 11 10 | Bot Plate: 2x6 P.T. | Wood, Plastics & Composites | 58.52 | 5% | 61.45 | LF | 805.61 | 255.02 | 812.15 | 1067.17
Overall | 06 11 10 | Double Top Plate: 2x6 SPF #2 | Wood, Plastics & Composites | 117.04 | 5% | 122.89 | LF | 411.68 | 276.5 | 257.15 | 533.65
Overall | 06 11 10 | Let-in board bracing | Wood, Plastics & Composites | 23.96 | 5% | 25.16 | LF | 123.06 | 117.03 | 39.74 | 156.77
Overall | 06 16 36 | CDX plywood wall sheathing | Wood, Plastics & Composites | 760.76 | 0% | 760.76 | SF | 1455.18 | 949.43 | 939.11 | 1888.54
Overall | 07 24 00 | Interior wall framing systems, 2" x 6", 16" OC F1 | Thermal and Moisture Protection |  |  |  | SQFT
Overall | 06 11 10 | Corner Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 193 | 5% | 202.65 | LF | 449.88 | 282.7 | 302.03 | 584.73
Overall | 06 11 10 | Wall Blocking: 2x4 SPF #2 | Wood, Plastics & Composites | 38.61 | 5% | 40.54 | LF | 62.84 | 38.01 | 43.78 | 81.79
Overall | 06 11 10 | Let-in board bracing | Wood, Plastics & Composites | 36.47 | 5% | 38.3 | LF | 187.33 | 178.14 | 60.49 | 238.64
Overall | 06 11 10 | Wall Stud: 2x6 SPF #2 @16" O.C. | Wood, Plastics & Composites | 434.22 | 5% | 455.93 | LF | 1012.16 | 636.02 | 679.52 | 1315.54
Overall | 06 11 10 | Double Top Plate: 2x6 SPF #2 | Wood, Plastics & Composites | 77.22 | 5% | 81.08 | LF | 271.62 | 182.43 | 169.66 | 352.09
Overall | 06 11 10 | CDX plywood wall sheathing | Wood, Plastics & Composites | 1157.93 | 5% | 1215.83 | SQFT | 2322.24 | 1519.79 | 1493.65 | 3013.43
Overall | 07 24 00 | Interior wall framing systems, 2" x 6", 16" OC Attic | Thermal and Moisture Protection |  |  |  | SQFT
Overall | 06 11 10 | Double Top Plate: 2x6 SPF #2 | Wood, Plastics & Composites | 55.04 | 5% | 57.79 | LF | 193.6 | 130.03 | 120.93 | 250.95
Overall | 06 11 10 | Wall Blocking: 2x4 SPF #2 | Wood, Plastics & Composites | 27.52 | 5% | 28.9 | LF | 44.8 | 27.09 | 31.21 | 58.31
Overall | 06 11 10 | Let-in board bracing | Wood, Plastics & Composites | 11.27 | 5% | 11.83 | LF | 57.86 | 55.02 | 18.69 | 73.71
Overall | 06 11 10 | Corner Stud: 2x6 SPF #2 | Wood, Plastics & Composites | 78 | 5% | 81.9 | LF | 181.82 | 114.25 | 122.06 | 236.31
Overall | 06 11 10 | Wall Stud: 2x6 SPF #2 @16" O.C. | Wood, Plastics & Composites | 134.16 | 5% | 140.87 | LF | 312.73 | 196.51 | 209.95 | 406.47
Overall | 06 11 10 | CDX plywood wall sheathing | Wood, Plastics & Composites | 357.76 | 5% | 375.65 | SQFT | 717.49 | 469.56 | 461.49 | 931.05
Overall | 13 18 13 | Floor framing systems, 2" x 8", 12" OC | Special Construction |  |  |  | SQFT
Overall | 06 11 10 | Wood bridging | Wood, Plastics & Composites | 50 | 2% | 51 | Each | 137.82 | 138.15 | 36.86 | 175
Overall | 06 11 10 | Wood Framing Joist | Wood, Plastics & Composites | 315 | 5% | 330.75 | LF | 929.74 | 418.81 | 802.83 | 1221.64
Overall | 06 11 10 | Rim Board: (3) 2x8 SYP #2 | Wood, Plastics & Composites | 265.05 | 5% | 278.3 | LF | 609.17 | 559.38 | 218.25 | 777.63
Overall | 06 11 10 | Wood furring strip | Wood, Plastics & Composites | 157.5 | 5% | 165.38 | LF | 362 | 332.41 | 129.69 | 462.11
Overall | 06 16 23 | CDX plywood subfloor | Wood, Plastics & Composites | 315 | 0% | 315 | SF | 562.65 | 331.7 | 401.35 | 733.05
Overall | 06 18 13 | 3-PLY 2X8 | Wood, Plastics & Composites | 39.38 | 5% | 41.34 | LF | 573.43 | 127.95 | 635.94 | 763.89
TRADE SUBTOTAL | [7 empty] | 60765.04 | 36064.27 | 43083.35 | 79147.64
Roofing
Overall | 07 05 05 | Pre-finished Galvanized Metal Coping. | Thermal & Moisture Protection | 158.07 | 15% | 181.78 | LF | 5053.48 | 3521.99 | 3018.46 | 6540.44
Overall | 07 71 23 | 4x5 Downspout | Thermal & Moisture Protection | 32.17 | 5% | 33.77 | LF | 367.76 | 174.34 | 308.19 | 482.52
Overall | 07 71 23 | 6x12 Overflow Scupper | Thermal & Moisture Protection | 4 | 5% | 4.2 | LF | 146.16 | 117.08 | 70.88 | 187.95
TRADE SUBTOTAL | [7 empty] | 5567.4 | 3813.41 | 3397.53 | 7210.91
Insulation
Overall | 07 21 16 | Ceiling Insulation: Batt R30 | Thermal & Moisture Protection | 277.1 | 5% | 290.96 | SQFT | 611.02 | 149.12 | 663.83 | 812.94
Overall | 07 21 16 | Wall Insulation:R-19 batt | Thermal & Moisture Protection | 2934.19 | 5% | 3080.9 | SQFT | 4806.2 | 1309.38 | 5074.24 | 6383.62
Overall | 07 21 16 | Roof Insulation: 3" polyiso R-15 | Thermal & Moisture Protection | 1361.55 | 5% | 1429.63 | SQFT | 5575.56 | 4199.54 | 2991.5 | 7191.04
Overall | 07 21 16 | Slab Edge Insulation: R-15 | Thermal & Moisture Protection | 114.5 | 5% | 120.23 | LF | 739.41 | 544.04 | 410.65 | 954.69
TRADE SUBTOTAL | [7 empty] | 11732.19 | 6202.08 | 9140.22 | 15342.29
EIFS
Overall | 07 24 13 | EIFS Main Color Stonebriar | Thermal & Moisture Protection | 1021.25 | 5% | 1072.31 | SQFT | 19451.7 | 19247.96 | 5472 | 24719.96
Overall | 07 24 13 | EIFS Wainsscot Sturdy Brown | Thermal & Moisture Protection | 382.3 | 5% | 401.42 | SQFT | 7458.38 | 7205.49 | 2286.89 | 9492.38
Overall | 07 24 13 | EIFS Accent Band | Thermal & Moisture Protection | 311.6 | 5% | 327.18 | SQFT | 5980.85 | 6420.91 | 1139.57 | 7560.48
Overall | 07 24 13 | EIFS Secondary Color Positive Red | Thermal & Moisture Protection | 412.2 | 5% | 432.81 | SQFT | 7755.96 | 7768.94 | 2080.08 | 9849.02
TRADE SUBTOTAL | [7 empty] | 40646.89 | 40643.3 | 10978.54 | 51621.84
Painting
Overall | 09 91 13 | Exterior Painting | Finishes | 2176.35 | 5% | 2285.17 | SQFT | 2422.28 | 2513.69 | 555.3 | 3068.98
Overall | 09 91 23 | Interior Painting | Finishes | 1515.68 | 10% | 1667.25 | SQFT | 2350.82 | 2438.35 | 540.19 | 2978.54
TRADE SUBTOTAL | [7 empty] | 4773.1 | 4952.04 | 1095.49 | 6047.52
HVAC
Overall | 11 30 15 | EWH-2 | Equipment | 1 | 5% | 1 | EACH | 318.98 | 227.93 | 184.46 | 412.39
Overall | 11 30 15 | EWH-1 | Equipment | 1 | 5% | 1 | EACH | 318.98 | 227.93 | 184.46 | 412.39
Overall | 13 24 16 | EUH-2 | Special Construction | 1 | 5% | 1 | EACH | 1980.61 | 224.21 | 2431.67 | 2655.89
Overall | 23 34 23 | EF-2 | Heating, Ventilating & Air Conditioning | 1 | 5% | 1 | EACH | 232.94 | 85.28 | 222.37 | 307.65
Overall | 23 34 23 | EF-1 | Heating, Ventilating & Air Conditioning | 1 | 5% | 1 | EACH | 232.94 | 85.28 | 222.37 | 307.65
Overall | 23 34 23 | EF-3 | Heating, Ventilating & Air Conditioning | 1 | 5% | 1 | EACH | 232.94 | 85.28 | 222.37 | 307.65
Overall | 23 54 16 | CU-1 | Heating, Ventilating & Air Conditioning | 2 | 5% | 2 | EACH | 983.64 | 206.68 | 1104.71 | 1311.38
Overall | 23 81 26 | DS-1 | Heating, Ventilating & Air Conditioning | 2 | 5% | 2 | EACH | 5618.08 | 2220.63 | 5186.13 | 7406.76
Overall | 23 82 29 | Refrigerant Piping | Heating, Ventilating & Air Conditioning | 29.32 | 2% | 29.91 | LF | 3191.7 | 1025.17 | 3201.61 | 4226.78
Overall | 23 82 29 | Condensate Drain Line | Heating, Ventilating & Air Conditioning | 22.18 | 2% | 22.62 | LF | 1845.79 | 743.63 | 1688.7 | 2432.33
TRADE SUBTOTAL | [7 empty] | 14956.6 | 5132.02 | 14648.85 | 19780.87
Electrical
Overall | 26 05 33 | (2) 2" PVC Electrical Conduits | Electrical | 152.68 | 3% | 157.26 | LF | 2630.96 | 1664.99 | 1753.61 | 3418.6
Overall | 26 05 39 | 4" PVC Telecom Conduit | Electrical | 66.96 | 5% | 70.31 | LF | 1476.51 | 1054.65 | 854.27 | 1908.92
Overall | 26 56 13 | Site Light w/CONC. Base | Electrical | 3 | 0% | 3 | EACH | 9300 | 5250 | 6885 | 12135
Overall | 26 24 16 | Electrical Service and Meter | Electrical | 1 | 0% | 1 | EACH | 4000 | 2250 | 2970 | 5220
Overall | 26 24 16 | Panel A | Electrical | 1 | 0% | 1 | EACH | 2300 | 1125 | 1890 | 3015
Overall | 26 24 16 | Panel B | Electrical | 1 | 0% | 1 | EACH | 1900 | 1000 | 1485 | 2485
Overall | 26 05 19 | Branch wiring and circuits | Electrical | 1 | 0% | 1 | LS | 9000 | 6875 | 4725 | 11600
Overall | 26 51 13 | Interior LED Fixtures (Type A/B) | Electrical | 18 | 2% | 18 | EACH | 4140 | 2025 | 3402 | 5427
Overall | 26 52 13 | Exit / Emergency Lights | Electrical | 4 | 2% | 4 | EACH | 700 | 400 | 513 | 913
Overall | 26 56 19 | Exterior Wall Packs | Electrical | 4 | 2% | 4 | EACH | 1240 | 650 | 972 | 1622
Overall | 26 27 26 | Wiring Devices (recept/switch, GFCI) | Electrical | 28 | 2% | 29 | EACH | 1827 | 1631.25 | 704.7 | 2335.95
Overall | 26 27 26 | Equipment Connections (HVAC/WH/OH dr/comp) | Electrical | 10 | 0% | 10 | EACH | 2000 | 1750 | 810 | 2560
Overall | 26 05 26 | Grounding System | Electrical | 1 | 0% | 1 | LS | 1100 | 875 | 540 | 1415
Overall | 26 09 23 | Low Voltage / Data (per bulletin) | Electrical | 1 | 0% | 1 | LS | 3400 | 2750 | 1620 | 4370
TRADE SUBTOTAL | [7 empty] | 45014.47 | 29300.89 | 29124.58 | 58425.47
Earthwork
Overall | 31 22 13 | Rough grading, open site, grader | Earthwork | 1 | 2% | 1 | EACH | 1305.32 | 1631.65 | 0 | 1631.65
Overall | 31 22 16 | Fine grading, granular base for sidewalks and bikeways | Earthwork | 18840.25 | 10% | 20724.28 | SQFT | 3523.13 | 4403.91 | 0 | 4403.91
Overall | 31 22 16 | Subgrade prep at paving | Earthwork | 18840.25 | 10% | 20724.28 | SQFT | 1657.94 | 2072.43 | 0 | 2072.43
Overall | 31 23 16 | Structural excavation, machine, common earth | Earthwork | 697.79 | 10% | 767.57 | CY | 25959.22 | 32449.02 | 0 | 32449.02
Overall | 31 23 16 | Excavation Trench 10"x2'-6" | Earthwork | 27.7 | 10% | 30.47 | CY | 284.89 | 356.12 | 0 | 356.12
Overall | 31 23 23 | 4" Granular Fill | Earthwork | 15.66 | 10% | 17.23 | CY | 447.46 | 63.54 | 535.46 | 598.99
Overall | 31 23 23 | 6" Granular Fill | Earthwork | 189.06 | 10% | 207.96 | CY | 5400.72 | 766.85 | 6462.77 | 7229.63
Overall | 31 23 23 | Spread topsoil in landscape areas | Earthwork | 169.63 | 10% | 186.59 | CY | 1906.95 | 2383.69 | 0 | 2383.69
Overall | 31 37 13 | Rip-Rap | Earthwork | 1113.2 | 10% | 1224.52 | SQFT | 19090.27 | 19714.77 | 4479.91 | 24194.68
Overall | 34 71 13 | 6" Dia CONC. Filled Pipe Bollard | Transportation | 3 | 2% | 3 | EACH | 3686.58 | 686.78 | 4235.17 | 4921.94
TRADE SUBTOTAL | [7 empty] | 63262.48 | 64528.76 | 15713.31 | 80242.06
Water Service
Overall | 33 01 30 | 1" HDPE Water Service, 53 LF | Utilities | 53 | 5% | 55.65 | LF | 1170.32 | 487.63 | 1053.29 | 1540.92
Overall | 33 14 17 | 1" Water Meter And Box | Utilities | 1 | 2% | 1 | EACH | 290 | 203.38 | 171.86 | 375.23
TRADE SUBTOTAL | [7 empty] | 1460.32 | 691.01 | 1225.15 | 1916.15
Sanitary
Overall | 33 05 97 | Blind connect new private 6" PVC SDR 26 | Utilities | 1 | 5% | 1 | EACH | 1570.05 | 1347.13 | 664.67 | 2011.8
Overall | 33 31 11 | Private 6" PVC SDR 26, 55 LF | Utilities | 55 | 5% | 57.75 | LF | 826.4 | 466.33 | 612.01 | 1078.34
Overall | 33 31 11 | Cleanout | Utilities | 1 | 2% | 1 | EACH | 67.89 | 74.48 | 11.22 | 85.69
Overall | 33 31 11 | Private 6" PVC SDR 26, 5 LF | Utilities | 5 | 5% | 5.25 | LF | 75.13 | 42.39 | 55.64 | 98.03
TRADE SUBTOTAL | [7 empty] | 2539.47 | 1930.33 | 1343.54 | 3273.86
Landscape
Overall | 33 14 13 | 1" Irrigation Master Valve | Utilities | 2 | 2% | 2 | EACH | 1688.54 | 950.73 | 1252.75 | 2203.47
Overall | 33 14 13 | Irrigation Backflow Preventor Installed | Utilities | 1 | 2% | 1 | EACH | 2000 | 625 | 2025 | 2650
Overall | 32 93 43 | Crape Myrtle, Multi-Trunk (LTE) 1.5" 3-cane | Planting | 6 | 0% | 6 | EACH | 1680 | 712.5 | 1498.5 | 2211
Overall | 32 93 43 | Southern Live Oak (QV) 2" Cal | Planting | 3 | 0% | 3 | EACH | 1200 | 487.5 | 1093.5 | 1581
Overall | 32 93 43 | Cedar Elm (UC) 2" Cal | Planting | 4 | 0% | 4 | EACH | 1440 | 575 | 1323 | 1898
Overall | 32 93 33 | Glossy Abelia (GA) 5 gal | Planting | 10 | 0% | 10 | EACH | 380 | 175 | 324 | 499
Overall | 32 93 33 | Pink Muhly Grass (MC) 5 gal | Planting | 37 | 0% | 37 | EACH | 1221 | 555 | 1048.95 | 1603.95
Overall | 32 93 33 | Hameln Fountain Grass (PH) 5 gal | Planting | 6 | 0% | 6 | EACH | 198 | 90 | 170.1 | 260.1
Overall | 32 92 23 | Bermuda Sod (CD) Tif 419 | Planting | 8324 | 5% | 8740.2 | SF | 5593.73 | 3277.57 | 4011.75 | 7289.33
Overall | 32 15 40 | Decomposed Granite (OG) 3" o/ fabric | Planting | 69 | 5% | 72.45 | SF | 195.62 | 135.84 | 117.37 | 253.21
Overall | 32 91 13 | Bed prep & topsoil at shrub beds | Planting | 650 | 10% | 715 | SF | 715 | 402.19 | 530.89 | 933.08
Overall | 32 91 19 | Mulch at planting beds, 3" | Planting | 650 | 10% | 715 | SF | 536.25 | 312.81 | 386.1 | 698.91
Overall | 32 84 23 | Irrigation Controller | Utilities | 1 | 0% | 1 | EACH | 550 | 250 | 472.5 | 722.5
Overall | 32 84 23 | Rain/Freeze Sensor | Utilities | 1 | 0% | 1 | EACH | 140 | 75 | 108 | 183
Overall | 32 84 23 | Zone Control Valve w/ box | Utilities | 8 | 2% | 8 | EACH | 944 | 700 | 518.4 | 1218.4
Overall | 32 84 23 | Turf Rotary Head (1806-SAM-P45) | Utilities | 28 | 2% | 29 | EACH | 1073 | 797.5 | 587.25 | 1384.75
Overall | 32 84 23 | Bed Spray Head | Utilities | 15 | 2% | 15 | EACH | 405 | 337.5 | 182.25 | 519.75
Overall | 32 84 23 | Drip Tubing at beds | Utilities | 400 | 5% | 420 | LF | 546 | 446.25 | 255.15 | 701.4
Overall | 32 84 23 | Irrigation PVC main/lateral | Utilities | 700 | 5% | 735 | LF | 2425.5 | 2021.25 | 1091.48 | 3112.73
Overall | 32 84 23 | Irrigation Sleeve under paving | Utilities | 120 | 5% | 126 | LF | 882 | 708.75 | 425.25 | 1134
TRADE SUBTOTAL | [7 empty] | 23813.64 | 13635.39 | 17422.19 | 31057.58
Glass
Overall | 08 51 13 | Window Type A (2'-0"x4'-0") | Openings | 1 | 0% | 1 | EACH | 400 | 175 | 351 | 526
Overall | 08 51 13 | Window Type B (4'-8"x4'-0") | Openings | 1 | 0% | 1 | EACH | 740 | 275 | 702 | 977
Overall | 08 51 13 | Window Type C (8'-2"x3'-10") | Openings | 1 | 0% | 1 | EACH | 1080 | 375 | 1053 | 1428
Overall | 08 80 00 | Glass for one interior door | Openings | 1 | 0% | 1 | EACH | 270 | 112.5 | 243 | 355.5
TRADE SUBTOTAL | [7 empty] | 2490 | 937.5 | 2349 | 3286.5
Plumbing
Overall | 22 42 13 | Water Closet (ADA) | Plumbing | 1 | 2% | 1 | EACH | 740 | 400 | 567 | 967
Overall | 22 42 16 | Lavatory (ADA) | Plumbing | 1 | 2% | 1 | EACH | 560 | 325 | 405 | 730
Overall | 22 42 23 | Mop / Service Sink | Plumbing | 1 | 2% | 1 | EACH | 600 | 300 | 486 | 786
Overall | 22 11 19 | Hose Bibbs (freeze-proof) | Plumbing | 2 | 2% | 2 | EACH | 320 | 225 | 189 | 414
Overall | 22 13 19 | Floor Drains | Plumbing | 4 | 2% | 4 | EACH | 1120 | 800 | 648 | 1448
Overall | 22 13 19 | Floor Sink | Plumbing | 1 | 2% | 1 | EACH | 340 | 225 | 216 | 441
Overall | 22 13 19 | Oil Interceptor (TRIEM OS-25) | Plumbing | 1 | 0% | 1 | EACH | 2700 | 1125 | 2430 | 3555
Overall | 22 33 00 | Water Heater WH-1 (Eemax) | Plumbing | 1 | 0% | 1 | EACH | 640 | 325 | 513 | 838
Overall | 22 34 00 | Water Heater WH-2 | Plumbing | 1 | 0% | 1 | EACH | 700 | 350 | 567 | 917
Overall | 22 11 19 | Domestic RPZ Backflow Preventer | Plumbing | 1 | 0% | 1 | EACH | 750 | 375 | 607.5 | 982.5
Overall | 22 11 16 | Domestic Water Piping | Plumbing | 150 | 5% | 157.5 | LF | 1811.25 | 1378.12 | 956.81 | 2334.94
Overall | 22 13 16 | Sanitary Waste and Vent Piping | Plumbing | 140 | 5% | 147 | LF | 2058 | 1653.75 | 992.25 | 2646
Overall | 22 13 16 | Under-slab 3" PVC chase to service pits | Plumbing | 60 | 5% | 63 | LF | 756 | 630 | 340.2 | 970.2
Overall | 22 05 76 | Cleanouts | Plumbing | 3 | 2% | 3 | EACH | 690 | 525 | 364.5 | 889.5
TRADE SUBTOTAL | [7 empty] | 13785.25 | 8636.87 | 9282.26 | 17919.14
Supervision / General Conditions
Overall | 01 31 13 | Job Superintendent | General Requirements | 100 | 0% | 100 | DAY | 52000 | 65000 | 0 | 65000
Overall | 01 51 00 | Temporary Utilities | General Requirements | 1 | 0% | 1 | LS | 2500 | 1250 | 2025 | 3275
Overall | 01 52 13 | Temporary Toilet | General Requirements | 5 | 0% | 5 | MO | 900 | 0 | 1215 | 1215
Overall | 01 52 00 | Temporary Site Fencing | General Requirements | 460 | 0% | 460 | LF | 3220 | 1725 | 2484 | 4209
Overall | 01 74 13 | Dumpster and Waste Disposal | General Requirements | 5 | 0% | 5 | MO | 2750 | 0 | 3712.5 | 3712.5
Overall | 01 74 23 | Final Cleaning | General Requirements | 1 | 0% | 1 | LS | 2000 | 2250 | 270 | 2520
Overall | 01 41 00 | Building Permits and Fees | General Requirements | 1 | 0% | 1 | LS | 6000 | 0 | 8100 | 8100
TRADE SUBTOTAL | [7 empty] | 69370 | 70225 | 17806.5 | 88031.5