ASSUMPTIONS & NOTES

Cost Estimate — Ground-Up Construction (Foundation to Final Walkthrough)

1.  Basis of Estimate

Building area: 1,328 SF (express oil-change building, 2 service bays) plus a 121 SF trash enclosure. Site area: 22,211 SF (0.51 acre).

Civil drawings are marked “FOR REFERENCE ONLY”; final site quantities to be confirmed against the issued civil set. Where drawings conflict, the more restrictive condition is assumed pending RFI.

2.  Earthwork & Grading Assumptions

Finished floor elevation (FF) = 826.60 (per Civil Grading Plan C-4.0). Excavation/subgrade depths are taken below finished surfaces as follows:

Building pad subgrade:  FF 826.60 − 0.75 ft (5″ slab + 4″ granular base) = 825.85.

Concrete paving area:  Excavate to TP − (6″ concrete + 6″ granular base ≈ 1.0 ft) below top of pavement.

Spread topsoil in landscape areas:  Stripped topsoil is respread at 6″ (0.5 ft) backfill thickness over landscape areas.

Topsoil strip depth taken as 6″ per geotech (5–7″ reported). Site is relatively flat (finished ≈ existing per geotech); mass cut/fill assumed minor, with stripping and structural/pit excavation as the controlling earthwork quantities.

Engineered fill placed in ≤9″ lifts, compacted to ≥95% (Modified Proctor). Lime stabilization of upper 6–12″ subgrade (3–5% by dry weight) carried as an allowance where required.

3.  Quantities

Landscape quantities are taken directly from the drawings (LP-1 Plant Schedule): 6 Crape Myrtle, 3 Live Oak, 4 Cedar Elm, 10 Glossy Abelia, 37 Pink Muhly Grass, 6 Hameln Fountain Grass, 8,324 SF Bermuda sod, 69 SF decomposed granite.

Irrigation, plumbing, electrical, and general-conditions quantities are estimated based on project scope and building/site scale where not explicitly scheduled on the drawings.

Window/door areas per A6.00 schedules; EIFS and insulation per net wall areas (less openings).

4.  Pricing & Markups

Unit prices reflect estimated Sherman, TX local market rates (bare labor and bare material).

Markups follow the workbook convention: Labor × 1.25 and Material × 1.35 to derive the “w/M” (with-markup) totals. Total Cost w/M = Labor w/M + Material w/M.

Wastage factors are applied per line item (typically 2–15%).

5.  Inclusions

All trades from the scope letter: excavation/utilities, landscaping & irrigation, concrete (footings, slab, service pits, flatwork), concrete sealing, masonry (trash enclosure), lumber/trusses, carpentry, EIFS, insulation, roofing (Duro-Last TPO), glass, paint/epoxy, plumbing, HVAC, electrical, and supervision/general conditions.

6.  Exclusions / By Others

Exterior signage (by Owner’s sign vendor).

Equipment — oil tanks, lifts, hose reels, drop safe, work stations (Owner/vendor furnished).

Compressed-air piping (by others, per scope letter).

Fire sprinklers / fire alarm (not required per IFC; verify with AHJ).

Builder’s risk insurance, bonds, and permit fees beyond the carried allowance.

7.  Clarifications to Verify

Parking field surface (asphalt vs. concrete): geotech anticipates bituminous parking/drives with concrete aprons; scope letter lists paving under Concrete. This estimate assumes concrete paving (6″) per current direction — confirm with Owner.

Geotech net allowable bearing pressure: Executive Summary states 4,000 psf while the Foundation Recommendations state 2,000 psf — confirm governing value with G2 prior to foundation pricing.

Permit fees carried as a $6,000 allowance (not marked up in practice) — adjust to actual jurisdiction fees when known.